ELECTRICAL EQUIPMENT RISK ASSESSMENT AND INSPECTION RECORD (Adopted 2010)

School Name: St Pius X High School, Adamstown 						Date risk assessment or inspection completed: ___________

Risk Assessment Completed by (Print Name): __________________________		Signature: ________________________

Signature of Supervisor (Office Manager/Coordinator/AP/Principal): ________________________

Fill the details in each column for plug-in type electrical equipment used in the workplace.  Identify the operating environment of your equipment.  Equipment that has been assessed, as being used in a hostile operating environment MUST be inspected and tested in accordance with AS/NZS 3760 and the test results recorded.  Equipment that has been assessed, as being used in a non-hostile operating environment does not require inspection and testing but must in accordance with the requirements of the OHS Regulation 2001 be maintained in a safe operating condition.  You should review this risk assessment and inspection record if there is a change in equipment use/location or if an electrical incident occurs.  New items conforming to the relevant Australian standards do not need to be tagged and tested before use but will be incorporated into the ongoing tagging and testing process.

| Equipment description | Location | Hostile operating environment Risk Factors |  | Non hostile environment | Test results/condition of equipment If equipment has been tested indicate result: Pass/Fail, test date and tag number |
| --- | --- | --- | --- | --- | --- |
|  |  | - Mechanical damage - Moisture - Heat - Vibration - Corrosive substances - Dust | Testing Required | Maintain in Safe condition |  |

NOTE:  Damaged or faulty equipment must be taken out of service and repaired by a competent person or replaced.      Page               of